## Slide 1: How Selecting the Right Pump Can Minimize Your Total Cost of Ownership and Boost Global Sustainability
Tomas Dobrovolskis

## Slide 2: Global Sustainability
Definition
“Meeting the needs of the present without compromising the ability of future generations to meet their own needs.”
Environmental Sustainability Meaning
Conserving natural resources and protecting the environment.

## Slide 3: Understanding Total Cost of Ownership (TCO)
Initial
Installation and Commissioning
Energy
Operating
Maintenance
Downtime
Environmental
Decommissioning and Disposal

## Slide 4: Installation Costs
Types of Installations

## Slide 5: Installation Costs
Types of Pumps

## Slide 6: Operating Costs
System Complexity

## Slide 7: Environmental Costs
Pumped product & pump sealing type

## Slide 8: Decommissioning & Disposal Costs
Pump size & materials

## Slide 9: Pump Initial Cost Considerations
Right Pump For The Application
Pump Type
Impeller Type
Pump Size
Installation Type
Notes: Closed, Vortex, Open, Chopper, Screw Centrifugal

## Slide 10: Pump Initial Cost Considerations
Auxiliary Equipment Required (Seal Water)
What can enter the liquid being pumped?
Notes: Closed, Vortex, Open, Chopper, Screw Centrifugal

## Slide 11: Pump Energy Considerations
Pump power required
Motor efficiency
Utilization – expected run time per year
Electricity Average Price $/kWh
VFD

## Slide 12: Pump Maintenance Considerations
Routine Maintenance
Repair Labor
Replacement Parts
Loss of Production or Temporary Replacement
Removal & Reinstallation
Inspection
Transportation

## Slide 13: Selecting The Right Pump
Efficiency
  What is the efficiency of the pump?
  What is the efficiency of the motor?

## Slide 14: Selecting The Right Pump
Pump Blockages
  What is the uncompressible solid passage size?
  Pump that is blocked is 0% efficient

## Slide 15: Selecting The Right Pump
Pump Reliability & Durability
  What is the expected lifespan 5, 10, 20, 30+ Years?

## Slide 16: Selecting The Right Pump
Pump Maintenance
  What is the expected frequency of repairs based on the size and type of pump?

## Slide 17: Selecting The Right Pump
Pump Adaptability
  Can the pump adapt to changes without the need for new pumps?

## Slide 18: How does it relate to pumps & sustainability?
Energy Costs

## Slide 19: How does it relate to pumps & sustainability?
Maintenance Costs
Material Usage

## Slide 20: How does it relate to pumps & sustainability?
Decommissioning and Disposal Costs

## Slide 21: How does it relate to pumps & sustainability?
Environmental Costs

## Slide 22: TCO Calculation Information Required
Pump Type
Pump Utilization
Pump Cost
Pump Qty
Electricity $
Pump Efficiency
Motor Efficiency
Expected Lifetime

## Slide 23: Additional Information (Optional)
How often do current pumps block?
What’s the cost of unblocking?
How often do the current wet-wells get vacuumed out?
What is the cost of cleanout?

## Slide 24: Results
TCO Summary

## Slide 25: Summary
Run calculations for current setup
Run calcs for alternative options
https://docs.google.com/spreadsheets/d/1obOBybLJMA6oP3VX8z-aGNDQUt7JBAP4w0mI2B9UGek/edit?usp=sharing

## Slide 26: Conclusion
TCO & the Global Impact on Sustainability

## Slide 27: Why is it important to me?

## Slide 28: Thank you!